Project: Goldstone Infratech Ltd. – E-Bus Division

System: 415 V, 3-Phase, 50 Hz

Basis: Corrected Cable Sizing Excel Workbook

SUMMARY OF CABLE LENGTHS FINAL PROJECT DOCUMENT

# DOCUMENT CONTROL / APPROVAL

Prepared By: ____B.KESHAVARDHAN NAYAK________________ Checked By: ____________________ Approved By: ____________________

# QUANTITY CALCULATION BASIS

Total Cable Length = Route Length per Run × Number of Parallel Runs.

Example: 0.220 km route × 2 runs = 0.440 km total cable.

# FEEDER-WISE CABLE LENGTH SUMMARY

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | MCC | Bay -1 | 400sq.mmALXLPE | 5 | 0.220 | 1.100 |
| 2 | MCC | Bay -2 | 300sq.mmALXLPE | 2 | 0.220 | 0.440 |
| 3 | MCC | Bay -3 | 70sq.mmALXLPE | 2 | 0.220 | 0.440 |
| 4 | MCC | Bay - 4 | 70sq.mmALXLPE | 3 | 0.220 | 0.660 |
| 5 | MCC | Utilities | 50sq.mmALXLPE | 2 | 0.220 | 0.440 |
| 6 | MCC | Lighting Panel | 16sq.mmALXLPE | 3 | 0.220 | 0.660 |
| 7 | MCC | Capacitor Bank -1 | 630sq.mmALXLPE | 6 | 0.220 | 1.320 |
| 8 | MCC | Material Preparation and Workshop | 240sq.mmALXLPE | 4 | 0.220 | 0.880 |
| 9 | Bay - 1 | Battery Charger -1 | 50sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 10 | Bay -1 | Battery Charger - 2 | 50sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 11 | Bay - 1 | Battery Charger -3 | 50sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 12 | Bay - 1 | Battery Charger -4 | 50sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 13 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 14 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 15 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 16 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 17 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 18 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 19 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 20 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 21 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 22 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 23 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 24 | Bay - 1 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 25 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 26 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 27 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 28 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 29 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 30 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 31 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 32 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 33 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 34 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 35 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 36 | Bay - 1 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 37 | Bay - 1 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 38 | Bay - 1 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 39 | Bay - 1 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 40 | Bay - 1 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 41 | Bay - 2 | EOT Crane -1 | 10sq.mmALXLPE | 3 | 0.220 | 0.660 |
| 42 | Bay- 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 43 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 44 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 45 | Bay- 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 46 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 47 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 48 | Bay- 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 49 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 50 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 51 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 52 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 53 | Bay - 2 | Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 54 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 55 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 56 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 57 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 58 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 59 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 60 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 61 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 62 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 63 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 64 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 65 | Bay - 2 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 66 | Bay - 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 67 | Bay - 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 68 | Bay - 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 69 | Bay- 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 70 | Bay - 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 71 | Bay - 2 | Int.Med. Trolley | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 72 | Bay - 2 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 73 | Bay - 2 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 74 | Bay - 2 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 75 | Bay - 2 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 76 | Bay - 2 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 77 | Bay - 2 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 78 | Bay - 2 | Pnuematic Chisels | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 79 | Bay - 2 | Pnuematic Chisels | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 85 | Bay - 3 | EOT Crane -1 | 10sq.mmALXLPE | 3 | 0.220 | 0.660 |
| 86 | Bay - 3 | Vinyl Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 87 | Bay -3 | Vinyl Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 88 | Bay - 3 | Vinyl Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 89 | Bay - 3 | Vinyl Welding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 90 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 91 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 92 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 93 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 94 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 95 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 96 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 97 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 98 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 99 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 100 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 101 | Bay - 3 | Grinding Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 102 | Bay - 3 | Pnuematic Chisels | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 103 | Bay - 3 | Pnuematic Chisels | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 104 | Bay - 3 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 105 | Bay - 3 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 106 | Bay - 3 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 107 | Bay - 3 | Nut Runners | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 108 | Bay - 3 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 109 | Bay - 3 | Blower, Paint Booth | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 110 | Bay - 4 | Brake test | 16sq.mmALXLPE | 3 | 0.220 | 0.660 |
| 111 | Bay - 4 | SideSlip test | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 112 | Bay - 4 | Wheel Alignment | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 113 | Bay - 4 | Sleep test | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 114 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 115 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 116 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 117 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 118 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 119 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 120 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 121 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 122 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 123 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 124 | Bay - 4 | Plug & Socket | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 125 | Lighting Panel | LDB | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 127 | Capacitor Panel | Capacitor Bank | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 128 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 129 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 130 | Capacitor Panel | Capacitor Bank | 50sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 131 | Capacitor Panel | Capacitor Bank | 25sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 132 | Capacitor Panel | Capacitor Bank | 25sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 133 | Capacitor Panel | Capacitor Bank | 25sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 134 | Capacitor Panel | Capacitor Bank | 25sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 135 | Capacitor Panel | Capacitor Bank | 25sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 136 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 137 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 138 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 139 | Capacitor Panel | Capacitor Bank | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 140 | MP&WP | Press Break | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 141 | MP&WP | Press Break | 10sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 142 | MP&WP | Shearing Machine- 1 | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 143 | MP&WP | Shearing Machine- 2 | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 144 | MP&WP | Section Bending | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 145 | MP&WP | Band Saw -1 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 146 | MP&WP | Band Saw -2 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 147 | MP&WP | Band Saw -3 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 148 | MP&WP | Iron Worker | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 149 | MP&WP | Burr Remover | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 150 | MP&WP | Burr Remover | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 151 | MP&WP | Straining Machine -1 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 152 | MP&WP | Straining Machine -2 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 153 | MP&WP | Wood Cutting - 1 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 154 | MP&WP | Wood Cutting - 2 | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 155 | MP&WP | Hydraulic Press | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 156 | MP&WP | Hydraulic Press | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |

| S.N. | From | To | Cable | Runs/Phase | Length/Run (km) | Total Cable (km) |
| --- | --- | --- | --- | --- | --- | --- |
| 157 | MP&WP | Profile Laser Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 158 | MP&WP | Radial Drill Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 159 | MP&WP | Drilling Machine | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 160 | Utilities | BoreWell | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 161 | Utilities | Pump | 6sq.mmALXLPE | 3 | 0.150 | 0.450 |
| 162 | Utilities | ETP & Sludge Pit | 4sq.mmALXLPE | 3 | 0.150 | 0.450 |

# CABLE SIZE-WISE QUANTITY SUMMARY

| Cable Type / Size | Total Cable (km) | Total Cable (m) |
| --- | --- | --- |
| 4sq.mmALXLPE | 54.000 | 54,000 |
| 6sq.mmALXLPE | 2.700 | 2,700 |
| 10sq.mmALXLPE | 5.370 | 5,370 |
| 16sq.mmALXLPE | 1.320 | 1,320 |
| 25sq.mmALXLPE | 2.250 | 2,250 |
| 50sq.mmALXLPE | 2.690 | 2,690 |
| 70sq.mmALXLPE | 1.100 | 1,100 |
| 240sq.mmALXLPE | 0.880 | 880 |
| 300sq.mmALXLPE | 0.440 | 440 |
| 400sq.mmALXLPE | 1.100 | 1,100 |
| 630sq.mmALXLPE | 1.320 | 1,320 |
| GRAND TOTAL | 73.170 | 73,170 |